| Cause & Effect Test Report BS 5839-1:2017 | JOB REF [Job Ref] VISIT DATE [Visit Date] |
| --- | --- |

| SITE DETAILS Site: [Site Name] Address: [Site Address] Contact: [Site Contact Name] Phone: [Site Contact Phone] |  | JOB DETAILS Customer: [Customer] Engineer: [Engineer] Panel: [Panel Make Model] Devices: [Device Count] ARC: [ARC Status] |
| --- | --- | --- |

1. Purpose of visit:

To conduct cause and effect testing and full audibility testing of the fire alarm system in accordance with BS 5839-1:2017.

2. System details:

Panel make / model: [Panel Make Model]

Number of devices: [Device Count]

ARC monitoring: [ARC Status]

3. Cause and effect test results

3.1 Test methodology

[Test Methodology]

3.2 Devices / zones tested

Per BS 5839-1 §32, minimum one detector per zone activated to verify programmed responses.

3.3 Output functions verified

| FUNCTION | EXPECTED RESPONSE | ACTUAL RESPONSE | RESULT |
| --- | --- | --- | --- |
| [Function] | [Expected Response] | [Actual Response] | [Output Result] |

4. Full audibility test results

4.1 Test equipment

Sound level meter: [Sound Meter Make Model]

Serial number: [Sound Meter Serial]

Calibration due: [Calibration Due]

4.2 Sound level measurements

Minimum required: 65 dB(A) general areas · 75 dB(A) sleeping accommodation · 5 dB above ambient.

| LOCATION | FLOOR | AMBIENT DB | ALARM DB | REQUIRED DB | RESULT |
| --- | --- | --- | --- | --- | --- |
| [Location] | [Floor] | [Ambient dB] | [Alarm dB] | [Required dB] | [Reading Result] |

4.3 Audibility test summary

[Audibility Summary]

5. Findings & observations

5.1 Cause & effect issues

| ISSUE | LOCATION / ZONE | SEVERITY | ACTION REQUIRED |
| --- | --- | --- | --- |
| [CE Issue] | [CE Location] | [CE Severity] | [CE Action] |

5.2 Audibility issues

| ISSUE | LOCATION | MEASURED DB | REQUIRED DB | ACTION REQUIRED |
| --- | --- | --- | --- | --- |
| [Aud Issue] | [Aud Location] | [Aud Measured dB] | [Aud Required dB] | [Aud Action] |

5.3 General observations

[General Observations]

6. Remedial works required

| PRIORITY | DESCRIPTION | LOCATION | ESTIMATED COST |
| --- | --- | --- | --- |
| [Priority] | [Remedial Description] | [Remedial Location] | [Estimated Cost] |
| Total estimated |  |  | [Total Cost] |

7. Compliance statement

☐  COMPLIES with BS 5839-1:2017 requirements.

☐  DOES NOT COMPLY — see remedial works in section 6.

8. Recommendations

- All remedial works should be completed within [Remedial Timeframe].

- Next routine service due: [Next Service Due].

- Cause & effect testing to be repeated annually.

- Full audibility re-test recommended following any building alterations.

9. Sign-off

| ENGINEER Name: [Engineer Name] Date: [Visit Date] Signature: ____________________________ | CLIENT / RESPONSIBLE PERSON Name: [Client Name] Company: [Client Company] Date: [Visit Date] Signature: ____________________________ |
| --- | --- |