A058  Customer Fire Alarm Battery Calculation

Fire alarm battery calculations for Address; [Site Address]. Postcode; [Site Postcode].

Battery calculation Job number; [Job Number]. Standby current 1 (A); [Standby Current]; Standby time (hrs); [Standby Hours]. + Alarm current 2 (A); [Alarm Current]; = Sub-total (Ah); [Battery Subtotal]. × 1.25 = Minimum battery capacity (Ah); [Min Battery Capacity]. Round up to the nearest standard battery size in Ah (e.g. 5.6 → 7 Ah). Design battery size (Ah); [Design Battery]; Installed battery size (Ah); [Installed Battery]. If the calculation requires larger batteries than provided, please contact your PM or line manager.

Fire alarm loop calculations for Panel located; [Panel Location]; Number of loops; [Loop Count]. For systems with multiple control panels, please complete an additional A058 sheet per panel.

Test carried out by Name; [Test Engineer Name]; Test meter; [Test Meter Model]. Signature; [Test Engineer Signature]; Serial number; [Test Meter Serial]. Date; [Test Date].

SUBMIT