A051  Fire Alarm Commissioning Certificate

Details of Client Name; [Customer Name]. Address; [Customer Address]. Postcode; [Customer Postcode].

Details of the Fire Alarm and Detection System Address; [Site Address]. Extent of system covered by this; [Extent of System]. The system is; [New / Modification]; Category; [Category of System].

System Examinations and Recommendations Tick boxes or insert N/A (not applicable, as appropriate) ☐ All equipment operates correctly ☐ Installation work is, as far as can reasonably be ascertained, of an acceptable standard ☐ The entire system has been inspected and tested in accordance with the recommendations of clause 39.2c of the current BS 5839 ☐ The system performs as required by the specification prepared by ☐ Taking into account the guidance in section 3 of the current BS 5839-1. I/we have not identified any obvious potential for any unacceptable rate of false alarms ☐ The documentation described in clause 40 of the standard has been provided to the user Specification prepared by; [Specifier]. Soak test period (weeks); [Soak Test Weeks]; or; [N/A]. Outstanding work before/after the system becomes operational; [Outstanding Work]. Potential causes of false alarm at next service; [False Alarm Risks].

Certificate of Commissioning I/We being the competent person(s) responsible (as indicated by my/our signature(s) below) for the commissioning of the fire alarm system, particulars of which are set out above, certify that the said work for which I/we have been responsible complies to the best of my/our knowledge and belief with the recommendations of clause 39 of BS 5839-1:2025, except for the variations, if any, stated in this certificate. Variations from clause 39; [Cl 39 Variations]. Commissioning Engineer Name; [Engineer Name]; Position; [Engineer Position]. Signature; [Engineer Signature]; Date; [Date].

Particulars of the Organisation Commissioning the System Organisation; [Company Name], [Company Address]. Design certificate no; [Design Cert Number]; Installation certificate no; [Installation Cert Number]. Design drawings no; [Design Drawings]; As fitted drawings no; [As Fitted Drawings].

A051  Fire Alarm Commissioning Certificate

| Item | Description | Y | N | N/A |
| --- | --- | --- | --- | --- |
| 1 | The system complies with the original specification / design and the use of the building has not changed. | ☐ | ☐ | ☐ |
| 2 | The 'as fitted' drawing accurately reflects the building structure (any changes recorded and passed to PM). | ☐ | ☐ | ☐ |
| 3 | System has been installed to meet the requirements of category L1 / L2 / L3 / L4 / L5 / P1 / P2 / M (state). | ☐ | ☐ | ☐ |
| 4 | Variations to the defined category have been identified and the schedule of variations agreed by the client and a nominated designer. | ☐ | ☐ | ☐ |
| 5 | Cables meet requirements for standard / enhanced / mixed (BS 5839-1 §26.2). | ☐ | ☐ | ☐ |
| 6 | Cables are segregated as required and suitably supported (where visibly checked, §26.2). | ☐ | ☐ | ☐ |
| 7 | Cables are mechanically protected as required where necessary (§26.2). | ☐ | ☐ | ☐ |
| 8 | Junction boxes correctly labelled and identified on drawings (where visibly checked). | ☐ | ☐ | ☐ |
| 9 | All cable insulation and continuity resistance measurements are logged. | ☐ | ☐ | ☐ |
| 10 | All cable penetrations are sleeved and fire-stopped (where visibly checked). | ☐ | ☐ | ☐ |
| 11 | Mains supply is dedicated, key-switched, correctly fused and labelled 'fire alarm — do not switch off' (red, accessible with a special tool only). | ☐ | ☐ | ☐ |
| 12 | Mains supply identified at ALL distribution boards with a 'fire alarm — do not switch off' label in red. | ☐ | ☐ | ☐ |
| 13 | 230V suppliers' installation covered by a certificate (request the EICR). If not seen, log variation as '230VAC supply test records not seen during commissioning BS 5839-1 §38.2c.' | ☐ | ☐ | ☐ |
| 14 | Standby battery verification calculation has been carried out for ALL panels / power supplies. If calculation requires larger batteries than provided, contact PM or line manager. | ☐ | ☐ | ☐ |
| 15 | All batteries are clearly marked and labelled with date of installation (§25.4). | ☐ | ☐ | ☐ |
| 16 | Field wiring is labelled and correctly terminated in all control and ancillary equipment. | ☐ | ☐ | ☐ |
| 17 | Detector removal fault indication has been checked and tested (§12.2.1). | ☐ | ☐ | ☐ |
| 18 | Short circuit fault indication has been checked and tested. | ☐ | ☐ | ☐ |
| 19 | ALL detection, MCPs, warning and ancillary devices have been tested for control operation and results recorded. | ☐ | ☐ | ☐ |
| 20 | Cause and effect on the system has been tested and results recorded. | ☐ | ☐ | ☐ |
| 21 | Provision of sounder circuits is appropriate (§16.2). | ☐ | ☐ | ☐ |
| 22 | Sound pressure levels have been checked and recorded (§16.2). | ☐ | ☐ | ☐ |
| 23 | Detector type and spacing is appropriate to the system category (§22.2). | ☐ | ☐ | ☐ |
| 24 | MCPs are located correctly and travel distances do not exceed 45 m (§22.2). | ☐ | ☐ | ☐ |
| 25 | Remote signalling has been checked and tested for correct operation to ARC (fire and fault). | ☐ | ☐ | ☐ |
| 26 | Radio signal strength (where applicable) exceeds manufacturer's minimum requirements. | ☐ | ☐ | ☐ |
| 27 | Cause and effects have been checked and verified. | ☐ | ☐ | ☐ |
| 28 | Zone charts have been fitted in appropriate locations and with the correct orientation (e.g. adjacent to control equipment and repeaters); search distances do not exceed limits; emergency lighting above. | ☐ | ☐ | ☐ |
| 29 | 'As fitted' drawings are complete and updated where required including cable type and sizes, cable routing, 230V supply, location of all MCPs / detectors / sounders / isolators. | ☐ | ☐ | ☐ |
| 30 | User handbook and operating instructions have been issued to the 'responsible person'. | ☐ | ☐ | ☐ |
| 31 | The 'responsible person' has been adequately trained in the use of the fire alarm system; details recorded. | ☐ | ☐ | ☐ |
| 32 | Premises have been left in a tidy condition and all surplus materials and equipment removed from site. | ☐ | ☐ | ☐ |
| 33 | Signage — correct signage has been installed (call points and fire action signs). | ☐ | ☐ | ☐ |

A051  Fire Alarm Commissioning Certificate

The following work could not be completed for reasons beyond the control of the company: Details; [Incomplete Work Details]. Reasons; [Incomplete Work Reasons].

A further visit is required by an engineer to complete the installation (type N/A if not needed): [Further Visit Required].

I certify that the above checks and functional tests have been completed in accordance with the equipment manufacturer's recommendations and/or applicable codes of practice. Signature; [Engineer Signature]; Print; [Engineer Name].

SUBMIT